| 南台科技大學102學年度第2學期課程資訊 |
| --- |
| 課程名稱 | 感測元件應用 |
| 課程編碼 | 37D02902 |
| 系所代碼 | 03 |
| 開課班級 | 四技系統三乙 |
| 開課教師 | 謝原泰 |
| 學分 | 3.0 |
| 時數 | 3 |
| 上課節次地點 | 二6 7 8 教室J103 |
| 必選修 | 選修 |
| 課程概述 | 定義何謂感測器、轉換器及瞭解各種感測器之操作原理及應用，以及感測電路之設計。 |
| 課程目標 | 希望學生學得感測器的代表性總覽，知道感測器如何工作、如何應用以及甚麼是基本電子電路當中所需要的。 |
| 課程大綱 | 第一章 轉換器、感測器和信號處理 1-1電子儀器系統 1-2直接、間接和推論測量 1-3轉換 1-4被動相對於主動的感測器 1-5感測器的誤差來源 1-6感測器的術語 1-7為改善感測的方法和信號處理 第二章 支援的電子電路：連結、接地和保護外殼 2-1感測器輸出電路型式 2-2放大器輸入電路 2-3感測器和放大器的匹配 2-4實用感測器放大器 2-5監視器保護外殼 2-6接地和接地迴路 第三章 電阻性、電感性和電容性感測器 第四章 溫度感測器 4-1溫度 4-2熱電阻器 4-3熱電偶 4-4固態式溫度感測器 4-5商用IC溫度測量感測器 4-6溫度警報器 第五章 位置及位移感測器 5-1分壓計位置/位移感測器 5-2其他位置/位移感測器 第十二章 光電感測器 12-1光二極體及光電晶體 12-2電光儀表 12-3光度測量 12-4光透視圖 12-5血中氧濃度測量PPG 第十四章 化學感測器 14-1濕度感測器 14-2氧器感測器 14-3還原性氣體/蒸汽感測器 14-4 PH感測電極 14-5二氧化碳感測器 |
| 英文大綱 | Chapter 1 Transducers, Sensors,and Signal Producing 1-1 Direct, indirect, and inferential measurements 1-2 Transduction 1-3 Passive verus active sensors 1-4 Source of sensor error 1-5 Sensor terminology 1-6 Methods and signal processing for improved sensing Chapter 2 Supporting Electronics Circuits: connection, Grounding 2-1 Sensor output circuit forms 2-2 Amplifier input circuits 2-3 Matching sensors and amplifiers 2-4 Practical sensor amplifiers 2-5 Ground shielding 2-6 Grounding and ground loop Chapter 3 Resistive, Capacitive, and Inductive sensors Chapter 4 Temperature Sensors 4-1 Temperature scales 4-2 Thermal resistors 4-3 Thermocouples 4-4 Solid-state temperature sensors 4-5 Commercial IC temperature-measurement sensors 4-6 Temperature alarms Chapter 5 Position and Displacement Sensors 5-1 Potentiometer position/displacement sensors 5-2 Other position/displacement sensors Chapter 12 Electro-Optical Sensors 12-1 Light 12-2 Light sensors 12-3 Photoemissive sensors 12-4 Photovoltaic cell 12-5 Photoconductive cells 12-6 Photodiodes and phototransistors 12-7 Electro-optics and instrumentation 12-8 Photocolorimetry 12-9 Photoplethysmography (PPG) 12-10Blood oxygen measurement PPG Chapter 14 Chmical Sensors 14-1 Humidity sensors 14-2 Oxygen sensors 14-3 Electrodes for reducing gases/vapors 14-4 PH electrodes 14-5 Carbon dioxide (CO2) sensors |
| 教學方式 |  |
| 評量方法 |  |
| 指定用書 | 感測器 |
| 參考書籍 | 其他datasheet |
| 先修科目 | 電路學、大一物理 |
| 教學資源 |  |
| 注意事項 | 無 |
| 全程外語授課 | 0 |
| 授課語言1 | 華語 |
| 授課語言2 |  |
| 輔導考照1 | 數位電子乙級 |
| 輔導考照2 |  |